## Sheet1
ITEM | DESCRIPTION | QTY | UNIT | UNIT RATE | AMOUNT AED | PICTURES / NOTES
1 | PRELIMINARIES
1.01 | Co-ordination & submission of all needed drawings for obtaining approvals from Landlord | 1 | Item | 9600 | 9600
1.02 | Appointment of Civil defense consultant to review & submit drawings (FA +FF +EM+EX ) for obtaining civil defense approval including co-ordination for final inspection and completion certificate. (Mall approved consultant) | 1 | Item | 6500 | 6500
1.03 | Co-ordination & submission of all needed Electrical drawings for obtaining approval from Mall including co-ordination for final inspection and completion certificate. | 1 | Item | 3500 | 3500
1.04 | Appointment of Consultant approved by Municipality to submit & obtain permits & approvals after inspection | 1 | Item | 0 | 0
1.05 | All Risk Insurance, workmen compensation and third party liability during fit out works - Value 5 Million Dirhams for common areas & 5Million for CAR insurance | 1 | Item | 12000 | 12000
1.06 | Site mobilization, Scaffolding and De-mobilization | 1 | Item | 5500 | 5500
1.07 | Site Supervision, co-ordination with Landlord and Client appointed Suppliers (Kitchen Supplier, signage Branding, Funlandia …ect), Site management, Site report & documentation | 1 | Item | 6500 | 6500
1.08 | Temporary electrical power, lighting and water supply during fit out works | 1 | Item | 1800 | 1800
1.09 | Provision for safety precautions at site, emergency medical kit and fire extinguishers | 1 | Item | 750 | 750
1.1 | Preparation and submission of material sample board for Client approval | 1 | Item | 4500 | 4500
1.11 | Protection of floor and wall finishes during the fit-out works at mall common areas | 1 | Item | 7500 | 7500
1.12 | Removal of site debris to approved municipality dump yard during the fit-out works | 1 | Item | 6500 | 6500
1.13 | Supply & installation of hoarding (Size: 24.3 x 4M) including printed branded sticker on hoarding - Artwork to be provided by client | 1 | Item | 21340 | 21340
1.14 | Provide Mall required documents: A. Method Statements. B. Risk Assessment C. HSE Plan D. Closeout documents | 1 | Item | 4000 | 4000
1.15 | Preparation of Structural Drawing by an approved structural engineer for the proposed raised area based (Seating area + Play area) on the structural design & load calculations of the existing structural drawings (Structural consultant approved by mall) | 1 | Item | 16500 | 16500
1.16 | Appointment for deep cleaning of the site by third party upon handover of the site | 1 | Item | 7200 | 7200
1.17 | Hire Crane, forklift, scissorlift or any other equipment needed for the duration of the project to facilitate working on heights as well as for mobilisation and shifting materials to the site. | 1 | Item | 6500 | 6500
1.18 | Provision for Demolition works needed after handover of units | 1 | Item | 8500 | 8500
1.19 | Provision for floor and wall protection of the existing items remaining on site from previous tenant | 1 | Item | 10600 | 10600
Sub Total - Preliminaries |  |  |  |  | 139290
2 | WALL LINING & PARTITIONS
2.01 | Provision for removal, supply and installation of ONLY fire rated gypsum board for the periphery wall cladding (FRAMING IS ALREADY EXISTING ON SITE) where branding is existing on the previous tenant Size: 98 x 4.7M 162 x 8.48M | 533 | SQ.M. | 160 | 85280
2.02 | Provision for Supply and installation of fire rated gypsum cladding on existing perimeter walls with 12.5mm thick fire-rated gypsum board and GI frames every 40cm (on the parts where there is existing room from the previous tenant and will be fully cladded up to ceiling on the proposed drawing | 574 | SQ.M. | 175 | 100450
2.03 | Provision to touch up of gypsum board cladding with 12.5MM FR gypsum board where it is broken by the previous tenant or it will be broken to pull new MEP services based on proposed drawings | 200 | SQ.M. | 95 | 19000
2.04 | Provision for Supply and installation of fire rated gypsum cladding on existing columns with 12.5mm thick fire-rated gypsum board and GI frames every 40 cm | 75 | SQ.M. | 175 | 13125
2.05 | Supply and apply 30MM thick cement plaster on existing hollow block partitions where needed | 1 | LS | 4500 | 4500
2.06 | Supply and installation of 150MM wall partition made with 12.5mm thick fire-rated gypsum board on both sides of G.I frame above the existing gypsum wall | 403 | SQ.M. | 120 | 48360
2.07 | Supply and installation of 150MM internal dry wall partitions with one layer of 12.5mm thick fire-rated gypsum board on both sides of GI frame (party rooms & storage inside office) | 272 | SQ.M. | 175 | 47600
2.08 | Supply & install 12MM calcium silicate cladding on perimeter wall to hold tiles - framing every 40cm- Location: Kitchen, back bar & party rooms | 108 | SQM | 220 | 23760 | client will provide the tiles -installation only
2.09 | Supply and installation of 150MM hollow block partitions (For kitchen) | 64 | SQ.M. | 120 | 7680
2.1 | Supply and installation of 150MM lintel beam including 6mm steel bars | 47 | SQ.M. | 450 | 21150
2.11 | Supply and apply 30MM thick cement plaster on block walls ready to receive paint finish or tiles | 135 | SQ.M. | 55 | 7425
2.12 | Supply and installation of 150MM wall made with 12.5mm thick fire-rated gypsum board on both sides of G.I frame above the block work up to slab | 80 | SQ.M. | 175 | 14000
2.13 | Supply and installation of blackpowder coated steel wall brackets for television | 9 | NOS | 450 | 4050
2.14 | Supply and installation of MDF inserts for wall brackets (Television, Signage & Fire Extinguisher) | 30 | NOS | 75 | 2250
Sub Total - Wall lining & Partitions |  |  |  |  | 398630
3 | WALL FINISHES
3.01 | [W-01] RAL 7046 Wall preparation including jointing tape, putty and sanding to supply and apply fenomastic paint finish on internal walls including stainless steel corners on all cladded columns and walls corners- Made: Jotun | 3907 | SQ.M. | 120 | 468840
3.02 | [W-02] RAL 7012 Wall preparation including jointing tape, putty and sanding to supply and apply fenomastic paint finish on internal walls including stainless steel corners on all cladded columns and walls corners. Made: Jotun | 244 | SQ.M. | 90 | 21960
3.03 | [W-03] Supply & install fire rated Artificial Grass wall (same as springs) including accessories to fix to the wall (Fire rated certificate is Mandatory) | 45 | SQ.M. | 275 | 12375
3.04 | [W-04] Supply & install 600 X 300 MM white glossy ceramic tiles at the kitchen walls including stainless steel corners Made: RAK ceramic or similar | 66 | SQ.M. | 125 | 8250
3.05 | [W-05] Supply & install 4MM Red Brick including accessories to fix to the wall (Reception & party rooms) | 73 | SQ.M. | 220 | 16060
3.06 | [W-06] Supply & install 5MM Corrugated Sheet powdercoated in jumping colors including accessories to fix to the wall | 23 | SQ.M. | 230 | 5290
3.07 | Supply & install L corner 40X40MM (black color) on all wall and column corners | 105 | PCS | 80 | 8400
3.08 | [W-07] provision for maintaining existing ceramic tiles at the toilets, office, storage, janitor rooms, first aid room, staff room including s.s corners (Quantity to be checked on site) | 60 | SQ.M. | 75 | 4500
Sub Total - Wall Finishes |  |  |  |  | 545675
4 | FLOOR FINISHES
4.01 | [F-01] Supply & Installation of fire rated artificial Grass as per approved drawings using 'bison kit' adhesive at the play area. Location: Play Area | 1836 | SQ.M. | 250 | 459000
4.03 | [F-03] Supply and fixing of 600x600mm non slip concrete finish dark grey porcelain floor tiles with tile adhesive and tile grout as per approved Design. Make: RAK cermic or similar Location: Kitchen | 30 | SQ.M. | 220 | 6600
4.04 | [F-04] Supply and fixing of 600x600mm concrete finish dark grey porcelain floor tiles with tile adhesive and tile grout as per approved. Make: RAK ceramic or similar Location: General Seating Area | 155 | SQ.M. | 220 | 34100
4.05 | [SK01] Supply & install stainless steel transition strip including accessories needed for installation | 175 | LM | 25 | 4375
4.06 | [SK02] Supply & install Rubber & Aluminum steel stair nose to hold grass on each step of staircase and avoid slipping | 150 | LM | 65 | 9750
4.07 | [SK03] Supply & install 70mm Ceramic tile skirting | 404 | LM | 55 | 22220
4.08 | Supply & apply Foam Block, concrete raised area at the wet areas (backbar & janitors,etc) to allow for drain pipes and MEP services | 48 | SQ.M. | 180 | 8640
4.09 | Supply & apply double waterproof membrane with 10 years warranty certificate (Kitchen, backbar) with upstand up to 1200MM on walls *TO NOTE* Janitor and Toilet waterproofing are existing and if required by the mall it will be considered as variation | 92 | SQ.M. | 450 | 41400
4.1 | Provision for maintaining existing ceramic tiles at the toilets, office, storage, janitor rooms, first aid room, staff room flooring (Quantity to be checked on site) | 40 | SQ.M. | 225 | 9000 | LOCATION NOT CLEAR
4.12 | Supply & Apply 15cm screed including 6mm mesh steel *To be validated with mall management | 2791 | SQ.M. | 180 | 502380
Sub Total - Floor Finishes |  |  |  |  | 638467
5 | CEILING WORKS
5.01 | [C-01] provision for touch up Black Fenomastic paint on existing soffit slab Location: Open Ceiling (RAL 9005)- Jotun Paints | 1 | LS | 15000 | 15000
5.02 | Supply and apply black paint on MEP services (Ducts, conduits pipes…etc) - Except Fire alarm and fire fighting devices & pipes - Jotun paints | 1 | LS | 13500 | 13500
5.03 | [C-02] Supply & install 12MM fire rated gypsum ceiling on (staff room, office, janitors, electrical room, etc) - validate onsite) | 204 | SQ.M. | 175 | 35700
5.04 | [C-02] Supply and apply of Snow White Fenomastic paint (staff, office, janitors, etc) (RAL 5001)- Jotun paints | 204 | SQ.M. | 95 | 19380
5.05 | [C-03] Supply and apply of Jotun Snow White Fenomastic paint on existing concrete slab- Validate onsite Location: Electrical Room (RAL 5001)- Jotun paint | 25 | SQ.M. | 220 | 5500
5.06 | [C-04] Supply & install 12MM fire rated gypsum ceiling with design - Location: Party rooms | 46 | SQ.M. | 175 | 8050
5.07 | [C-04] Supply & install fire rated gypsum bulkhead - Location: Party rooms | 58 | SQ.M. | 175 | 10150
5.08 | [C-04] Supply and apply of Light Grey Fenomastic paint on cove lighting Location: Party rooms | 72 | SQ.M. | 95 | 6840
5.09 | [C-05] Supply & install 600x600x6MM Thick aluminum white ceiling tiles Location: Kitchen | 30 | SQ.M. | 120 | 3600
5.1 | Replace the existing smoke management roof openings with 15MM tempered glass including maintenance of the existing smoke system mechanism | 5 | Nos | 450 | 2250
Sub Total - Ceiling works |  |  |  |  | 119970
6 | SHOP FRONT WORKS
6.01 | [W-01] Supply and installation of 10MM Laminated Safety Glass (3.6 x 10.3m) | 38 | SQM | 375 | 14250
6.02 | [W-02] Supply and installation of 10MM Laminated Safety Glass (3.6 x 3.7m) | 20 | SQ.M. | 375 | 7500
6.03 | Fabrication, supply & installation of 50 x 50MM structural steel supports needed for the shopfront glass and roller shutter + signage | 58 | SQ.M. | 145 | 8410
6.04 | Fabrication, supply & installation of fire rated gypsum board to cover the steel support. | 58 | SQ.M. | 175 | 10150
6.05 | Supply & install oakwood veneer finish cladding extruded by 10cm on columns as per approved design | 6 | SQ.M. | 275 | 1650
6.06 | Supply & install 25x25 round/hexagon shape blackpowdercoated mesh on columns as per approved design | 14 | SQ.M. | 220 | 3080
6.07 | Provision to relocate existing polycarbonate shutter door including accessories and motor- including needed maintenance if required Size: 6 x 2.5m | 1 | LS | 9500 | 9500
6.08 | Supply & install gypsum bulkhead for shutter door motor including steel support and paint & access door Size: 6 x 1.15m | 8 | SQ.M. | 450 | 3600
Sub Total - Shop front works |  |  |  |  | 58140
7 | JOINERY WORKS
7.01 | [J-01]Supply & installation of Reception Table in fire rated mdf oak veneer finish w/ black absolute marble counter top including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 6811x750x920mm Location: Reception | 1 | Nos | 0 | 0
7.02 | [J-02]Supply & installation of Café Bar in fire rated mdf oak veneer finish w/ black absolute marble counter top including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 10333x800x920mm Location: Cafe | 1 | Nos | 0 | 0
7.03 | [J-03]Supply & installation of Back Bar in fire rated mdf oak veneer finish w/ black absolute marble counter top including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 5500x800x920mm Location: Cafe | 1 | Nos | 0 | 0
7.04 | [J-04]Supply & installation of Stroller bay in black powdercoated steel frame with 25x25 mesh including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 8200x800x2404mm Location: General Area | 1 | Nos | 0 | 0
7.05 | [J-05]Supply & installation of Shoerack in fire rated mdf oak veneer finish including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 3784x400x2000 Location: General Area | 1 | Nos | 0 | 0
7.06 | [J-06A]Supply & installation of Shoerack bench 1 in fire rated white industrial ply including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 3247x500x800 Location: General Area | 1 | Nos | 0 | 0
7.07 | [J-06B]Supply & installation of Shoerack bench 2 in fire rated white industrial ply including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 5362x500x800 Location: General Area | 1 | Nos | 0 | 0
7.08 | [J-07]Supply & installation of Center Planter Box in fire rated mdf cement finish with oakwood cladding including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: Approx. 2700x2700x800 Location: General Area | 1 | Nos | 0 | 0
7.09 | [J-08]Supply & installation of Party Bay 1 in fire rated white industrial ply including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 11172x500x800 Location: General Area | 1 | Nos | 0 | 0
7.1 | [J-09]Supply & installation of Party Bay 2 in fire rated white industrial ply including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 10083x500x800 Location: General Area | 1 | Nos | 0 | 0
7.11 | [J-10]Supply & installation of Seating Booth 01 in fire rated mdf oak veneer finish w/ black powdercoated steel frame with 25x25 mesh including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 5500x500x860 - 1 Booth 1500x400x20 - 13PCS Hanging Mesh + steel rods Location: General Area | 1 | Nos | 0 | 0
7.12 | [J-11]Supply & installation of Seating Booth 02 in fire rated mdf oak veneer finish w/ black powdercoated steel frame with 25x25 mesh including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 3500x500x860 - 1 Booth 1500x400x20 - 8PCS Hanging Mesh + steel rods Location: General Area | 4 | Nos | 0 | 0
7.13 | [J-12]Supply & installation of Party Room Table in fire rated mdf oak veneer finish w/ black steel leg support including accessories including bolts, hinges, etc.., Size: 1800x1000x750 Location: Party Rooms | 4 | Nos | 0 | 0
7.14 | [J-13]Supply & installation of Waiters Station in fire rated mdf oak veneer finish w/ Black Corian Top including accessories including bolts, hinges, etc.., Size: 700x500x1000 Location: Party Rooms | 2 | Nos | 0 | 0
7.15 | [J-14A]Supply & installation of Party Room Bench in fire rated mdf oak veneer finish including accessories including bolts, hinges, etc.., Size: 1846x400x400 Location: Party Rooms | 1 | Nos | 0 | 0
7.16 | [J-14B]Supply & installation of Party Room Bench in fire rated mdf oak veneer finish including accessories including bolts, hinges, etc.., Size: 2636x400x400 Location: Party Rooms | 1 | Nos | 0 | 0
7.17 | [J-15]Supply & installation of Mini Shoe Rack in fire rated mdf oak veneer finish including accessories including bolts, hinges, etc.., Size: 1496x400x1200 Location: General Area | 2 | Nos | 0 | 0
7.18 | [J-17]Supply & installation of Planter Box 1 in fire rated mdf oak veneer finish including accessories including bolts, hinges, etc.., Size: 300x500x900 Location: General Area | 1 | Nos | 0 | 0
7.19 | [J-18]Supply & installation of Planter Box 2 in fire rated mdf oak veneer finish including accessories including bolts, hinges, etc.., Size: 500x572x900 Location: General Area | 2 | Nos | 0 | 0
7.2 | [J-19]Supply & installation of Planter Box 3 in fire rated mdf oak veneer finish including accessories including bolts, hinges, etc.., Size: 500x1000x900 Location: General Area | 1 | Nos | 0 | 0
7.21 | [J-20]Supply & installation of Conference Table in fire rated mdf oak veneer finish top w/ black steel leg support including accessories including bolts, hinges, etc.., Size: 1800x1000x750 Location: Office | 1 | Nos | 0 | 0
7.22 | [J-21]Supply & installation of Filing Cabinet in fire rated mdf oak veneer finish w/ black steel leg support including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 2757x400x1200 Location: Office | 1 | Nos | 0 | 0
7.23 | [J-22]Supply & installation of Walkie Talkie Cabinet in fire rated mdf oak veneer finish w/ black steel leg support including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 1792x400x1200 Location: Office | 1 | Nos | 0 | 0
7.24 | [J-23]Supply & installation of Office Table in fire rated mdf oak veneer finish w/ black steel leg support including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 4550x600x800 Location: Office | 1 | Nos | 0 | 0
7.25 | [J-24]Supply & installation of Circular Seating Booth in fire rated mdf oak veneer finish w/ black steel leg support including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 2100x600x900 Location: General Area | 1 | Nos | 0 | 0
7.26 | [H-01A] Supply & installation of Hanging Ceiling Arrow ''Décor 1'' in Powdercoated Steel Frame painted in jumping colors including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling | 6 | Nos | 0 | 0
7.27 | [H-01B] Supply & installation of Hanging Ceiling Arrow ''Décor 2'' in Powdercoated Steel Frame painted in jumping colors including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling | 6 | Nos | 0 | 0
7.28 | [H-01C] Supply & installation of Hanging Ceiling Arrow ''Décor 3'' in Powdercoated Steel Frame painted in jumping colors including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling | 6 | Nos | 0 | 0
7.29 | [H-02] Supply & installation of Hanging Ceiling Arrow in Powdercoated Steel Frame painted in jumping colors including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling | 14 | Nos | 0 | 0
7.3 | [H-03] Supply & installation of Hanging Ceiling Arrow in Powdercoated Steel Frame powdercoated in jumping colors including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling | 9 | Nos | 0 | 0
7.31 | Supply & install 18MM lacquer finished painted fire rated Solid plywood to cladd all visible steel areas in the play area | 610 | SQM
7.32 | Supply fire rated certificate for treated joinery items | 1 | Nos | 0 | 0
Sub Total - Joinery works |  |  |  |  | 0
8 | DECORATIVE STEEL, ALUMINUM & GLASS WORKS:
8.01 | Rail- Type 1: Supply & install 50mm dia powder coated Black Metal Railing with mesh for play area including needed accessories to fix on floor @ 1.2m ht | 185 | LM | 375 | 69375
8.02 | Rail- Type 2: Supply & install 50mm powder coated Black Metal Railing without mesh including needed accessories to fix on floor @ 1.2m ht | 36 | LM | 275 | 9900
8.03 | [W-03] Supply & install fixed tempered 10MM glass window with black powdercoated aluminum framing with all necessory ironmongery, accessories, & frames Size: 1600x4000x10mm Location: Party Rooms | 2 | Nos | 475 | 950
8.04 | [W-03] Supply & install CNC cut wood to achieve window shape as per proposed design including needed accessories, putty, & paint Size: 1600x4000x10mm Location: Party Rooms | 2 | Nos | 650 | 1300
8.05 | Supply & installation of Black powdercoated Welcome Banner in steel support with steel frame and 50x50 wire mesh including accessories including bolts, hinges, etc.., to fasten to flooring Size: 7023x3900x50mm Location: General Area | 1 | Nos | 3500 | 3500
8.06 | Supply & installation of Queing Railing at reception in black powdercoated steel frame including accessories including bolts, hinges, etc.., to fasten on wall, floor or ceiling Size: 1000x900x40mm Location: General Area | 4 | Nos | 2500 | 10000
8.07 | Supply & installation of MESH PARTITION above bar partition wall to separate stroller bay and cafe bar. Made with black powder coated steel frame with 50x50 steel mesh. Size: 1254x2812 MM - framing (50X50MM steel tube on top and from side & 100mm steel tube at the bottom - Location: bar | 1 | Nos | 6500 | 6500
Sub Total - Aluminum & Glass works |  |  |  |  | 101525
9 | DOORS:
9.01 | [D-01] Maintain and repaint the existing doors - To validate during fit-out if any door needs to be changed completely Location: First Aid RM, Corridor, Janitors, Storage RM | 4 | Nos | 450 | 1800
9.02 | [D-02] Maintain and repaint the existing doors - To validate during fit-out if any door needs to be changed completely Location: Female Toilet | 1 | Nos | 450 | 450
9.03 | [D-03] Maintain and repaint the existing doors - To validate during fit-out if any door needs to be changed completely Location: Male Toilet | 1 | Nos | 450 | 450
9.04 | [D-04] Maintain and repaint the existing doors - To validate during fit-out if any door needs to be changed completely Location: Corridor | 1 | Nos | 450 | 450
9.05 | [D-05] Supply & install of NEW fire rated single swing leaf solid wooden door with all necessory ironmongery, accessories, archtraves & Frames- to confirm with client Size: 1100mm(length) x 2200mm(height) Location: Storage, Staff, Office | 3 | Nos | 3500 | 10500
9.06 | [D-06] Supply & install fire rated metal door with powder coated black painted corrugated cladding with all necessory ironmongery, accessories, archtraves & Frames Size: 1100mm(length) x 2450mm(height) Location: Kitchen | 1 | Nos | 7500 | 7500
9.07 | [D-07] Supply & install 10mm single swing tempered glass door with all necessory ironmongery, accessories, archtraves & Frames Size: 1100mm(length) x 2450mm(height) Location: Party Room | 2 | Nos | 2200 | 4400
9.08 | [D-08] Supply & install 10mm 3 panel sliding tempered glass door with all necessory ironmongery, accessories, archtraves & Frames Size: 3300mm(length) x 2450mm(height) Location: Party Room | 1 | Nos | 2200 | 2200
9.09 | [D-09] Maintain and repaint the existing doors - To validate during fit-out if any door needs to be changed completely Location: Electrical room | 1 | Nos | 450 | 450
Sub- Total - Doors |  |  |  |  | 28200
10 | LIGHTING:
10.01 | [L-01] Supply & install pendant industrial light at play area. (Type 1) - 6000k @ 200w | 104 | Nos | 490 | 50960
10.02 | Supply & install Manual Pulley system for each 5 lights. (L-01-Type 1) lights | 21 | Nos | 480 | 10080
10.03 | [L-02] Pendant industrial light at seating area (Type 2) - 3500k @200w | 52 | Nos | 750 | 39000
10.04 | [L-03] Supply & install pendant light (reception & cafebar) = 3500k @ 100w | 10 | Nos | 370 | 3700
10.05 | [L-04] Supply & install downlights - 3500k @ 25-50w | 43 | Nos | 260 | 11180
10.06 | [L-05] Supply & install Wall Industrial Light - 3500k @ 50w | 2 | Nos | 295 | 590
10.07 | [L-06] Supply & install 60x60 LED light at the kitchen area (Day light) @ 6000k | 12 | Nos | 225 | 2700
10.8 | [L-07] Supply & install Cage Light - 4000k @ 30W | 8 | Nos | 410 | 3280
10.09 | [L-08] Supply & install warm white LED concealed strip light in ceiling décor | 189 | LM | 65 | 12285
10.1 | [L-09] Supply & install pendant industrial light below Funlandia structure . (Type 1) - 6000k @ 100w | 10 | Nos | 380 | 3800
10.11 | Appoint light consultant for Lux calculations | 1 | Nos | 600 | 600
Sub- Total Lighting |  |  |  |  | 138175
11 | SANITARY: (KITCHEN SANITARY NOT INCLUDED)
11.01 | Provision for maintanance of existing sanitary such as toilets seats, shattaf, air dryer. Incase items cannot be maintain it will be changed and to consider as additional works | 1 | Nos
11.02 | Supply & install Mixer sensor (Electric operated) for back bar sink - Made: Grohe | 1 | Nos | 3200 | 3200
11.03 | Supply & install bottle trap in black finish for backbar | 1 | Nos | 2500 | 2500
11.04 | Supply & install automatic / sensor soap dispenser for backbar | 1 | Nos | 1800 | 1800
11.05 | Supply & install toilet sink for male and female toilet | 8 | Nos | 650 | 5200
11.06 | Supply & install sensor mixer (battery operated) for male and female toilet | 8 | Nos | 1800 | 14400
11.07 | Supply & install soap dispenser for male and female toilet | 8 | Nos | 1800 | 14400
11.08 | Supply & install new mirrors for male and female toilet | 4 | Nos | 1800 | 7200
11.09 | Toilet paper rolls existing | 1 | Nos | 475 | 475
11.1 | Janitor floor sink existing, to maintain if there are leaks & clogs | 2 | Nos | 235 | 470
Sub Total - Sanitary |  |  |  |  | 7500
12 | SIGNAGE WORKS
12.1 | [SIGNAGE 01] Supply and installation of jumping LED acrylic signage in English & Arabic @35mm thick with backlit 4000k - location main facade / entrance Size: 7.3 x 0.85 Meter | 1 | Nos | by client
12.2 | [SIGNAGE 02] Supply and installation of lighted acrylic logo at the back bar including brackets and accessories - Size: 970x950x35mm | 1 | Nos | by client
12.3 | [SIGNAGE 03] Supply and installation of lighted acrylic signage for corridor going to toilet Size: 1213x900x35mm | 1 | Nos | by client
12.4 | [SIGNAGE 04] Supply and installation of jumping lighted acrylic signage for welcome banner Size: 3530x580x35mm | 1 | Nos | by client
12.5 | [SIGNAGE 05] Supply and installation of jumping lighted acrylic signage for party room Size: 2143x431x35mm | 1 | Nos | by client
Sub Total - Signage |  |  |  |  | 0
13 | STRUCTURAL WORKS & STEEL WORKS
13.01 | Supply & install ''RAISED AREA @900MM for SEATING AREA'' including 50x50MM & 40x40M - 4mmThick tubes, 200x200MM -4mm thick steel plates including 10cm screed with 6MM steel mesh, laid on top of metal decking sheet 0.9MM thick ready to receive final finish | 424 | sqm | 450 | 190800
13.02 | Provision for ''STEPS'' going to raised area (900MM height) + staircase going towards the play area from the reception Size: 6 x 4 steps @ .35 Cm per step -riser 18cm | 9 | SQ.M. | 375 | 3375
13.03 | Provision for ''STEPS'' going to raised area (900MM height) + staircase going towards the general seating area from café bar Size: 9 x 4 steps @ .35 cm per step - riser 18 cm | 13 | SQ.M. | 375 | 4875
13.04 | Provision for ''STEPS'' going to raised area (900MM height) + staircase going towards the fire exit from general seating area Size: 1.5 x 4 steps @ .35 cm per step - riser 18 cm | 3 | SQ.M. | 375 | 1125
13.05 | Supply & install ''STEEL PLATFORM'' for FCU units including railing for safety- Size 1000 x 1000MM | 4 | nos | 650 | 2600
13.06 | Supply & install 100 x 100MM steel tube to support the sliding door at the party room (Above ceiling) | 1 | Nos | 1470 | 1470
Sub Total - Structural works steel works |  |  |  |  | 204245
14 | Play Area Works: |  |  |  | 0
14.01 | Supply & install with full proper welding all steel tubes (100x100 - 80x80 - 50x50 - 40x40) needed for the different level of the ''RAISED FLOOR OF THE PLAY AREA'' as per proposed steel drawings including (200X200 MM- 300X300 MM- 400X400 MM Steel plates to weld all steel tubes for raised area) + 18MM plywood / industrial fire rated wood sheets to cover all play area floor (jumping + Mini jumping area) + Steel tubes required for net posts + net accessories & installation + ramps & staircases | 2677 | SQM | 475 | 1271575
14.02 | Supply & install ''DODGE BALL'' including steel tubes 50 x 50 MM as per steel drawings of play area
14.03 | Supply & install ''AIR BAG AREA''
14.04 | Supply & install ''TRAMPOLINE STEEL FRAMES'' 80x80 - 50x50 - 75x50MM (Trampoline types - T1, T4, T6, ect. ) )including necessary steel plates & wiggle bars as per approved layout (High performance, Dodge ball, High performance, free JUMP, ….Ect. for all type of proposed trampolines (85 Trampolines) | 1 | Nos | 5500 | 5500
14.05 | Supply & install FREEJUMP area including steel tubes 80 x80MM & 50 x 50MM including extruded / 3D wall plywood cladding | 1 | Nos | 3500 | 3500
14.06 | Supply & install a '' parkoor area'' as per steel drawings of play area | 1 | Nos | 4500 | 4500
14.07 | Supply & install ''SUPERSOFT'' area including steel tubes 80 x80MM & 50 x 50MM including extruded / 3D wall plywood cladding | 1 | Nos | 3000 | 3000
14.08 | Supply and installation of ''INFINITY WALL'' as per drawings attached including acrylic sheets 20MM, Steel tubes 150 x 150 MM - Thickness 6MM + 400 X400 MM- Thickness 8MM steel plates (Refer to steel drawings of play area by structural engineer) - Size : 8.7 x 8.85M | 1 | Nos | 6500 | 6500
14.09 | Supply & installation of mini infiniti wall as per drawings attached including acrylic sheets 20MM, Steel tubes 150 x 150 MM - Thickness 6MM (Refer to steel drawings of play area by structural engineer)- Size 5.3 x 3M height | 1 | Nos | 7600 | 7600
14.1 | Supply and installation of High performance-Jumpbox as per as per steel drawings of play area'' including Acrylic Jump box - 20MM acrylic thickness - Size: 5.18 x 3 x 1.5 M | 1 | Nos | 4500 | 4500
14.11 | Supply & install elevated ''DANCE FLOOR WITH BENCH'' including steel tubes 80 x 80MM +50 x 50 MM as per steel drawings of play area | 1 | Nos | 4500 | 4500
14.12 | Supply & install needed steel for ''FOOTBALL / BASKETBALL COURT'' as per steel drawings of play area'' including special soccer field glass, Powder coated steel Coals, support for Basketball boards (Basket ball boards to be supplied by client) | 1 | Nos | 5500 | 5500
14.13 | Provide needed labors to offload containers of Funlandia ( 2 Containers) | 1 | Nos | 4000 | 4000
14.14 | Provide needed tools for Funlandia installation team (Basic tools such as drills, grinder, handyman tools) | 1 | Nos | 4500 | 4500
14.15 | Provide 2 Labors for the duration of approximately 2 weeks to help Funlandia installtion team | 1 | Nos | 7500 | 7500
14.16 | Assist & provide 10 Labors to Help in the installation of the venue such as (trampolines rubber, trampoline padding, safety paddings) | 1 | Nos | 10500 | 10500
Sub Total - Play area steel works |  |  |  |  | 1343175
‏15 | AC & HVAC WORKS
‏15.1 | Supply and Installation of DX-FCUs (INDOOR AND OUTDOOR) including Control box but not limited to all fittings, supports, connections and any other items required for a complete installation. | 3 | Nos | 9500 | 28500
‏15.2 | Maintenance of Exsting Package Unit | 9 | Item | 2800 | 25200
‏15.3 | Maintenance of Exsting MUA-TEK-01 | 1 | Item | 2800 | 2800
‏15.4 | Supply and Installation of Ecology unit including starter/ VFD panel but not limited to all fittings, supports, connections and any other items required for a complete installation. | 1 | Item | 18000 | 18000
‏15.5 | Supply and Installation of FAHU including starter/ VFD panel but not limited to all fittings, supports, connections and any other items required for a complete installation. | 1 | Item | 0 | 0
‏15.6 | Supply and Installation of Toilet Extract Fan including starter but not limited to all fittings, supports, connections and any other items required for a complete installation. | 1 | Item | 0 | 0
‏15.7 | Supply, fabrication and installation of GI rectangualr ducts for Supply air duct, 3m acoustic lining from FCU with all its fittings, supports and accessories. As per the new proposed layout requirements including round dropper for diffuser | ‏1365 | Sqm | 300 | 409500
‏15.8 | modification and reuse of existing duct | 1 | LS | 0 | 0
‏15.9 | Supply, fabrication and installation of GI rectangualr ducts for fresh air duct, with all its fittings, supports and accessories. As per the new proposed layout requirements including round dropper for diffuser | ‏109 | Sqm | 250 | 27250
‏15.10 | Supply, fabrication and installation of GI rectangualr ducts for toilet air duct, with all its fittings, supports and accessories. As per the new proposed layout requirements including round dropper for diffuser | ‏38 | Sqm | 190 | 7220
‏15.11 | Supply, fabrication and installation of MS ducts for kitchen air duct, with all its fittings, supports and accessories. As per the new proposed layout requirements including round dropper for diffuser | ‏102 | Sqm | 440 | 44880
‏15.12 | Supply and installation of Refrigerant pipe for DX-FCU and Dx-Fahu with as shown on the drawings and specified including but not limited to all fittings, and any other items required for a complete installation | 1 | Item | 160 | 160
‏15.13 | Supply and Installation of Condensate drain piping as shown on the drawings and specified including but not limited to all fittings,insulation, supports, connections and any other items required for a complete installation. | 1 | Item | 400 | 400
‏15.14 | Supply and Installation of aluminium cladding for roof duct , refrigerent piping and cdp piping including but not limited to all fittings,insulation, supports, connections and any other items required for a complete installation. | 1 | Item | 1000 | 1000
‏15.15 | Supply & installation of thermostat with wiring & conduiting | 12 | Nos | 1500 | 18000
15.16 | Supply and install VCD for all ducting for air balancing | -
| DIA 200 | 20 | Nos | 110 | 2200
| 500x200 | 20 | Nos | 210 | 4200
| 950x450 | 1 | Nos | 450 | 450
| 1100x450 | 1 | Nos | 475 | 475
| 500x350 | 1 | Nos | 375 | 375
| 700x450 | 1 | Nos | 390 | 390
| 700x400 | 1 | Nos | 390 | 390
| 500x400 | 2 | Nos | 390 | 780
| 450x250 | 73 | Nos | 210 | 15330
| 400x300 | 1 | Nos | 200 | 200
| 350x200 | 2 | Nos | 200 | 400
| 350x150 | 1 | Nos | 200 | 200
| 250x250 | 2 | Nos | 200 | 400
| 350x300 | 2 | Nos | 200 | 400
| 550X400 | 1 | Nos | 300 | 300
| 500X300 | 1 | Nos | 300 | 300
| DIA 450 | 5 | Nos | 150 | 750
| 350x200 | 2 | Nos | 200 | 400
| MS-350X300 | 2 | Nos | 200 | 400
| Fire Damper: |  |  |  | 0
| 500x250 | 2 | Nos | 300 | 600
15.17 | Supply and Install Air Terminal (Supply & Return) from an approved manufacturer fixed to ductwork as detailed in drawings including all integrals and fixtures . For FCUs
| Supply round diffuser- Dia 450 | 31 | Nos | 310 | 9610
| Supply jet diffuser- Dia 400 | 80 | Nos | 310 | 24800
| Supply air Square diffuser 375x375 | 2 | Nos | 240 | 480
| Supply air Square diffuser 525X525 | 4 | Nos | 300 | 1200
| Return air Square diffuser 525X525 | 3 | Nos | 300 | 900
| Supply air Square diffuser 225X225 | 1 | Nos | 300 | 300
| Return air Square diffuser 225X225 | 1 | Nos | 300 | 300
| Supply air Square diffuser 300X300 | 13 | Nos | 300 | 3900
| Return air Square diffuser 300X300 | 11 | Nos | 250 | 2750
| combination flow bar diffuser 1 slot, 40mm-19052mm(L), | 2 | Nos | 400 | 800
| 2000 S+2000 R |  |  | 0 | 0
15.18 | combination flow bar diffuser 1 slot, 40mm-18053mm(L), 2000 s + 2000R | 2 | Nos | 1000 | 2000
15.19 | Extract Air Louver - 1000 x 600 mm | 1 | Nos | 1000 | 1000
15.2 | Extract Air Louver -500 x 450 mm | 1 | Nos | 750 | 750
15.21 | sand trape Louver-900x 450 mm | 1 | Nos | 670 | 670
15.22 | Supply & install Concrete Foundation on roof for new HVAC units | 5 | Item | 1500 | 7500
15.23 | Pressure testing of Refrigerent Pipe network, Nitrogen flushing | 1 | Item | 9000 | 9000
15.24 | Testing & comissioning | 1 | Item | 6500 | 6500
15.25 | Interface new AC & HVAC units with mall BMS | 1 | Nos | 1500 | 1500
| Sub Total - AC & HVAC Works |  |  |  | 685810
16 | ELECTRICAL WORKS
All Electrical works are to be carried out to as per regulations by a contractor approved by local government and to the highest standard of materials and workmanship.
16.1 | Existing MDB to Electrical room including provision for installation on wall, electrical trays and mountings (Validate onsite) | 1 | LS | 6500 | 6500
16.2 | Supply and installation armoured cable to reach new isolator location in electrical room. | 1 | LS | 9000 | 9000
16.3 | EXISTING of 1200A electrical MDB as per Authority standards including all accessories and mounting. | 1 | LS | 29000 | 29000
16.4 | EXISTING of 800A electrical SMDB-PU as per Authority standards including all accessories and mounting. | 1 | LS | 27000 | 27000
16.5 | Modification of 160A electrical SMDB-ac as per Emaar guidelines and DEWA standards including all accessories and mounting. | 1 | LS | 18000 | 18000
16.6 | Supply and installation of 80A electrical DB-01 as per Emaar guidelines and DEWA standards including all accessories and mounting. | 1 | Nos | 13000 | 13000
16.7 | Supply and installation of 100A electrical DB-02 as per Emaar guidelines and DEWA standards including all accessories and mounting. | 1 | Nos | 16000 | 16000
16.8 | Supply and installation of 160A electrical DB-03 as per Emaar guidelines and DEWA standards including all accessories and mounting. | 1 | Nos | 18000 | 18000
16.9 | Modification of 63A electrical DB-04 as per Emaar guidelines and DEWA standards including all accessories and mounting. | 1 | Nos | 11000 | 11000
16.1 | Supply and installation of incomer XLPE/SWA/PVC 4CX300MM Armoured cable including 1Cx150MM ECC from Mall Isolator to SMDB-AC including cleats and cable tray | 36 | LM | 1250 | 45000
16.11 | EXISTING of incomer XLPE/SWA/PVC 2x 4CX300MM Armoured cable including 2x 1Cx150MM ECC from Mall Isolator to SMDB-PU including cleats and cable tray | 36 | LM | 1250 | 45000
16.12 | Supply and installation of XLPE/SWA/PVC 4Cx 25MM2 Armoured cable and earth cable 1Cx16MM from SMDB to DB-01 including cleats and cable tray | 15 | LM | 110 | 1650
16.13 | Supply and installation of XLPE/SWA/PVC 4Cx35MM2 Armoured cable and 1Cx16MM earth cable from SMDB to DB-02 including cleats and cable tray | 15 | LM | 130 | 1950
16.14 | Supply and installation of XLPE/SWA/PVC 4Cx70MM2 Armoured cable and 1Cx35MM earth cable from SMDB to DB-03 including cleats and cable tray | 18 | LM | 320 | 5760
16.15 | Supply and installation of XLPE/SWA/PVC 4Cx10MM2 Armoured cable and 1Cx10MM earth cable from SMDB to DB-04 including cleats and cable tray | 20 | LM | 70 | 1400
16.16 | Supply and installation of XLPE/SWA/PVC 4Cx10MM2 Armoured cable and 1Cx10MM earth cable from SMDB to ELEC TRIPLE DECK OVEN including cleats and cable tray | 75 | LM | 70 | 5250
16.17 | Supply and installation of XLPE/SWA/PVC 4Cx6MM2 Armoured cable and 1Cx6MM earth cable from SMDB to ISO-CP- TEK-01 including cleats and cable tray | 60 | LM | 45 | 2700
16.18 | Supply and installation of XLPE/SWA/PVC 4Cx6MM2 Armoured cable and 1Cx6MM earth cable from SMDB to ISO-CP- FAHU-01 including cleats and cable tray | 60 | LM | 45 | 2700
16.19 | Supply and installation of XLPE/SWA/PVC 4Cx6MM2 Armoured cable and 1Cx6MM earth cable from SMDB to ISO-CP- ODU-FAHU-01 including cleats and cable tray | 60 | LM | 45 | 2700
16.2 | Supply and installation of XLPE/SWA/PVC 4Cx6MM2 Armoured cable and 1Cx6MM earth cable from SMDB to ISO-CP-ECU-01 including cleats and cable tray | 60 | LM | 45 | 2700
16.21 | Supply and installation of XLPE/SWA/PVC 4Cx6MM2 Armoured cable and 1Cx6MM earth cable from DB to DX-OD-01 including cleats and cable tray | 60 | LM | 45 | 2700
16.22 | Supply and installation of XLPE/SWA/PVC 4Cx6MM2 Armoured cable and 1Cx6MM earth cable from DB to DX-OD-02 including cleats and cable tray | 60 | LM | 45 | 2700
16.23 | Supply and installation of XLPE/SWA/PVC 4Cx6MM2 Armoured cable and 1Cx6MM earth cable from DB to DX-OD-03 including cleats and cable tray | 60 | LM | 45 | 2700
16.24 | Provide 20mm all conducting to be PVC conduit, 1.5mm2 wiring & installation of ceiling lights as per mall specification. Light fixtures measured separately. | 350 | nos | 400 | 140000
16.25 | Supply and installation of light control panel in steel enclosures including gang switches | 14 | nos | 370 | 5180
16.26 | Provide 25mm PVC conduit, 4mm2 wiring, supply and installation of 13A single switch sockets as per mall Specification as per layout | 71 | nos | 520 | 36920
16.27 | Provide 25mm PVC conduit, 4mm2 wiring, supply and installation of 13A double switch sockets as per mall Specification as per layout | 57 | nos | 420 | 23940
16.28 | Provide 25mm PVC conduit, 4mm2 wiring, supply and installation of 13A single switch sockets ( Floor box) as per mall Specification as per layout | 9 | nos | 670 | 6030
16.29 | Supply and installation of isolator for equipment as per design proposed. as per new layout (Indoor & outdoor) | 19 | nos | 500 | 9500
16.3 | Provide 25mm PVC conduit, 4mm2 wiring, supply and installation of 13A double switch W/Proof sockets as per mall Specification as per layout | 6 | nos | 700 | 4200
16.31 | Provide 25mm PVC conduit, 4mm2 wiring, supply and installation of 15A single switch sockets W/P as per mall Specification as per layout | 15 | nos | 670 | 10050
16.32 | Provide 25mm PVC conduit, 4mm2 wiring, supply and installation of Spur outlet with DP switch for insect killer and led light as per mall Specification as per layout | 7 | nos | 520 | 3640
16.33 | Supply and install conduiting and wiring for external signage | 4 | nos | 450 | 1800
16.34 | Supply and install of Flex Outlet and DB Switch EWH | 3 | nos | 450 | 1350
16.35 | Supply and install ISOL unit with DP switch | 6 | nos | 620 | 3720
16.36 | Supply and install flex outlet with DP switch for kitchen hood | 1 | nos | 550 | 550
16.37 | Supply & install PVC Conduit & Wiring CAT 6 Cable for the CCTV & Data (Excluded- CCTV devices & DATA termination to be provided by client supplier) including conduits for sound system | 1 | Nos | 10000 | 10000
16.38 | Provide 25mm PVC conduit, 4mm2 wiring, Power supply for FACP, EMERGENCY PANEL Security system with necessary breakers. | 2 | Nos | 800 | 1600
16.39 | Provide 20mm PVC conduit, 4mm2 wiring, Power supply for Signage with timer as per mall Specification. | 4 | Nos | 620 | 2480
16.4 | Provide 20mm PVC conduit, 4mm2 wiring, Power supply for FCU with isolator located near to unit as per DEWA Specification. | 3 | Nos | 890 | 2670
16.41 | Provide 20mm GI conduiting and 2.5mm2 wiring for Air Condition and FAHU Thermostat. | 12 | Nos | 530 | 6360
16.42 | Provide Megger test | 1 | Item | 8000 | 8000
16.43 | Provide Live test by third party | 1 | Item | 11000 | 11000
| SUB TOTAL ELECTRICAL WORKS |  |  |  | 561400
17 | FIRE ALARM & EMERGENCY LIGHTS
17.01 | Supply & installation of FACP (Validate onsite) | 1 | Item | 12500 | 12500
17.02 | Relocation of Smoke Detector with Base and required FP-200 cabling. | 16 | Nos | 375 | 6000
17.03 | Supply and Installation of Heat Detector with Base and required FP-200 cabling. | 1 | Nos | 450 | 450
17.04 | Relocation of void Smoke Detector with Base above ceiling including indicator and required FP-200 cabling. (Above first aid room, toilets and kitchen) | 3 | Nos | 650 | 1950
17.05 | Supply & installation of new smoke detectors | 12 |  | 650 | 7800
17.06 | Supply & installation of new Break Glass with the required FP-200 cabling | 8 | Nos | 450 | 3600
17.07 | Relocation of existing sounder with the required FP-200 cabling | 16 | Nos | 750 | 12000
17.08 | Supply & install control module with back box (new panel loop) for interfacing of FACP to building | 2 | nos | 9500 | 19000
17.09 | Supply & install monitor module with back box (building panel loop) for interfacing of FACP to building | 2 | nos | 7500 | 15000
17.1 | Reprogramming of IFU Modules for interfacing FCU's panel, Smoke Management extract & make up air, Zone control valve, Music System, HVAC units (Ecology, FAHU, heat recovery unit, Make up air), Gas, Hood | 10 | Nos | 9500 | 95000
17.11 | Isolation, Enabling & disabling FA system | 1 | Item | 850 | 850
17.12 | Programming ,Testing and commissioning of FACP | 1 | Item | 3500 | 3500
| EM & EX: |  |  |  | 0
17.13 | Relocation of central monitoring panel for EX & EM lights with required programming and cable | 1 | nos | 450 | 450
17.14 | Relocation self contained emergency light with battery back up (Full area) | 6 | nos | 375 | 2250
17.15 | Supply and Installation of new self Contained Exit Light with battery back-up | 11 | nos | 750 | 8250
| Supply & installation of Emergency light | 10 | Nos | 575 | 5750
17.16 | Supply & pull needed fire cables for Emergency & exit light nstallation | 1 | Item | 650 | 650
| Sub - Total - FA & EM + EX Lighting |  |  |  | 182500
18 | FIRE Fighting:
18.01 | Supply and installation of Fire Fighting pendant sprinklers system, complete with pipes, sprinkler, red paint on pipes and all accessories as per CD requirements (Clouded on drawings Grid X3) | 15 | Nos | 475 | 7125
18.02 | Relocation of Fire Fighting pendant sprinklers system, complete with pipes, sprinkler, red paint on pipes and all accessories as per CD requirements (Raised Floor clouded pink, Party rooms, kitchen, above xrun and Below Ducts) | 86 | Nos | 675 | 58050
18.03 | Supply and installation of fire extinguisher (5KG Dry powder & 6KG CO2 ) as per the civil defence requirement | 10 | Set | 375 | 3750
18.04 | Hydraulic pressure test for fire fighting system | 1 | Item | 4500 | 4500
18.05 | Relocation of existing Fire hose cabinet with required piping | 5 | Nos | 3400 | 17000
18.06 | Disabling & draining FF system | 1 | Item | 2500 | 2500
18.07 | Supply and install of fire blankets | 1 | Item | 1500 | 1500
10.08 | Maintenance of existing Fire system at electrical room | 1 |  | 3500 | 3500
10.09 | Supply of Attested & warranty certificates | 1 | Item | 6500 | 6500
| Sub - Total Fire Fighting |  |  |  | 104425
19 | FIRE SUPPRESSION SYSTEM
19.01 | Supply & install Fire suppression system below the hood - including 3 Nozzles | 1 | Nos | 14500 | 14500
| Sub - Total Fire Suppression System |  |  |  | 14500
20 | PLUMBING
20.01 | Supply & install PPR 40dia, 32dia & 25 dia water line complete with angle valve for hot and cold line | 10 | Nos | 465 | 4650
20.02 | Supply & install PPR water line water hammer arrestor | 3 | Nos | 245 | 735
20.03 | Supply & install Water heater 100L @ 150 L | 3 | Nos | 1250 | 3750
20.04 | Water pipe pressure test | 1 | Item | 1500 | 1500
20.05 | Provide Chlorination test from third party lab | 1 | Item | 4500 | 4500
| Drain Works: |  |  |  | 0
20.06 | Supply & install HDPE drain pipe for waste water including wall and floor | 20 | Nos | 225 | 4500
20.07 | Servicing of existing HDPE pipe for soil and urinal | 8 | Nos | 375 | 3000
20.08 | Supply & install undercounter Grease trap with dosing pump - AG1 type under sink | 1 | nos | 5500 | 5500
20.09 | Supply & install HDPE floor traps | 8 | Nos | 650 | 5200
20.1 | Supply & install Pump for drain to connect to nearest drain provision point | 1 | Nos | 750 | 750
20.11 | Civil works needed for running drain pipes | 1 | Nos | 0 | 850
20.12 | Supply and install of Clean out for waste and soil pipes | 1 | nos | 0 | 750
20.13 | Supply and install of Vent pipes including connection to Mall existing vent pipe | 1 | nos | 0 | 450
20.14 | Gravity & flood test | 1 | Item | 0 | 700
20.15 | Testing & Commissioning | 1 | Item | 0 | 2500
| Sub - Total Plumbing |  |  |  | 39335
BOQ SUMMARY
1 | PRELIMINARIES |  |  |  | 139290
2 | WALL LINING & PARTITIONS |  |  |  | 398630
3 | WALL FINISHES |  |  |  | 545675
4 | FLOOR FINISHES |  |  |  | 638467
5 | CEILING WORKS |  |  |  | 119970
6 | SHOP FRONT WORKS |  |  |  | 58140
7 | JOINERY WORKS |  |  |  | 0
8 | STEEL, ALUMINUM & GLASS WORKS |  |  |  | 101525
9 | Doors |  |  |  | 28200
Fixtures:
10 | Lighting |  |  |  | 138175
11 | Sanitary |  |  |  | 7500
12 | Signage (By client) |  |  |  | -
Structural & play area steel works
13 | Structural & Steel Works |  |  |  | 204245
14 | Play area steel works |  |  |  | 1343175
MEP
15 | AC & HVAC works |  |  |  | 685810
16 | Electrical |  |  |  | 561400
17 | Fire Alarm & Emergency Lights |  |  |  | 182500
18 | Fire Fighting |  |  |  | 104425
19 | Fire Suppression System |  |  |  | 14500
20 | Plumbing |  |  |  | 39335
| TOTAL OF FIT OUT WORKS - jumping Red Sea Mall |  |  | SAR | 5310962